Storm Water Pollution Prevention Plan

Storm Water Pollution Prevention Plan

(SWPPP)

Permit Number: WVR ______________

Prepared For:

_____________________________________

Development Name & Location:

Prepared by:

Date:

________________

This Storm Water Pollution Prevention Plan (SWPPP) is provided by the West Virginia Department of Environmental Protection (WVDEP).   Providing this document does not certify that the information is complete or complies with all requirements. The WVDEP claims no responsibility for omissions or inaccuracies in values or information presented to the WVDEP by businesses seeking compliance with state environmental regulations.

CERTIFICATIONS

To Be Completed by Permittee

(Plans and Specifications Operational Control)

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for attesting to false information, including the possibility of fine and imprisonment for knowing violations.”

| Name and Title |  | Telephone Number |
| --- | --- | --- |
| Signature |  | Date |

To Be Completed by Construction Site Operator/Co-Permittee

(Day-to-Day Operational Control)

“I certify that I have reviewed this document and all attachments that were prepared under professional supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for attesting to false information, including the possibility of fine and imprisonment for knowing violations.”

| Name and Title |  | Telephone Number |
| --- | --- | --- |
| Signature |  | Date |

SWPPP Revision Documentation Form

This storm water pollution prevention plan (SWPPP) should be revised and updated to address changes in site conditions, new or revised government regulations, and additional on-site storm water pollution controls.  The signature of this representative attests that the SWPPP revision information is true and accurate.  Previous authors and facility representatives are not responsible for the revisions.

| Number | Date | Company Representative’s Signature |
| --- | --- | --- |

CONTENTS

- CONTACT INFORMATION

- OBJECTIVE

- NON-STORM WATER DISCHARGES

- SWP3 REVIEW AND AMENDMENTS

  - Review

  - Amendments

- SITE OR PROJECT DESCRIPTION

  - Description of Construction Activity & Environmental Impacts

  - Construction Activity with Potential Pollutant Sources

  - Major Activities Schedule

  - Property Acreage

  - Construction Activity Acreage

  - Soil Data

  - General Location Map and Site Map

  - Erosion and Sediment Control Site Map

  - Industrial Discharges

  - Receiving Waters

  - WVDEP Construction General Permit,

WV0115924

  - Threatened and/or Endangered Species

  - Historical Determination

  - Total Maximum Daily Loading (TMDL)

- EROSION AND SEDIMENT CONTROLS

  - Short & Long-Term Goals/Criteria

  - Best Practicable Technology (BPT)

  - Site-specific Erosion and Sediment Controls

- STABILIZATION PRACTICES

  - Deadline to Initiate Stabilization Measures

  - Deadline to Complete Installation of Stabilization Measures

  - Other Deadlines

  - Stabilization Records

- STRUCTURAL CONTROLS

  - Structural Control Requirements

  - Site Structural Controls

- STORM WATER MANAGEMENT

- OTHER CONTROLS

  - Other Control Requirements

  - Other Controls at the Site

- APPROVED LOCAL PLAN

- MAINTENANCE

- INSPECTIONS OF CONTROLS

- CONTRACTORS AND SUBCONTRACTORS RESPONSIBILITIES

- UTILITY COMPANIES

- EMERGENCY NOTIFICATION

- EMPLOYEE TRAINING

APPENDICES

APPENDIX A, General Location Map and Site Map

APPENDIX B, WVDEP Storm Water Construction General Permit

APPENDIX C, Site Information

1.	General Description Sheet

2.	Schedule Sheet for Soil Disturbing Activities

3.	Soil Data Sheet

4.	Erosion and Sediment Control Site Map

5.	Erosion and Sediment Control Plan

6.	Design Sheets

7. 	Design Calculations

8.	Revegetation Plan

9.	Stabilization Practice Schedule

10.	Structural Control Sheet

11.	Construction Site Inspection Report

1.0.	CONTACT INFORMATION

| PERMITTEE | PHONE/FAX/MOBILE | ADDreSS |
| --- | --- | --- |
| PROJECT CONTRACTOR |  |  |
| QUALIFIED PERSON/ 24-HOUR CONTACT |  |  |
| OTHER |  |  |

- OBJECTIVE

A storm water pollution prevention plan must be prepared for storm water discharges that will reach Waters of West Virginia, including discharges to the Municipal Separate Storm Sewer System (MS4), and to identify and address potential sources of pollution that are reasonably expected to affect the quality of discharges from the construction site, including off-site material storage areas, overburden and stockpiles of dirt, borrow areas, equipment staging areas, vehicle repair areas, fueling areas, etc., used by the permitted project. The SWPPP must describe and ensure the implementation of practices that will be used to reduce the pollutants in storm water discharges associated with construction activity at the construction site and assure compliance with the terms and conditions of the general permit.

3.0	Non-Storm Water Discharges

All discharges authorized by this permit shall be composed entirely of storm water.

4.0	SWPPP REVIEW AND AMMENDMENTS

4.1	Review

This SWPPP must be retained on-site at the construction site or, if 			the site is inactive or does not have an on-site location to store the 			plan, a notice must be posted describing the location of the

SWPPP. This SWPPP must be made readily available at the time

of an on-site inspection.

  - Amendments

This SWPPP will be revised or updated when the following occurs:

1.	Change in design, construction, operation, or maintenance 				that has a significant effect on the discharge of pollutants 				and that has not been previously addressed in this SWPPP.

- Results of inspections or investigations indicating this

SWPPP is proving ineffective in eliminating or significantly

minimizing pollutants in discharges authorized under the

general permit.

- To identify any new contractor and/or subcontractor that will

implement a measure of the SWPPP.

All other permittees implementing portions of the SWPPP that will

be impacted by a change to the SWPPP will be notified of the

change in a timely fashion.

The revisions to the SWPPP will be documented on the “SWPPP 			Revision Documentation Form” found in the front of this document. 			The authorized representative with regulatory authority (corporate 			officer or proprietor) to approve the SWPPP shall sign the modified 			plan certifying that the SWPPP revision information is true and 			accurate.

5.0	Site or Project Description

5.1	Description of Construction Activity & Environmental Impacts

Developer:_____________________________________________________________________________________________________________________________________________________________________________

Builder:_____________________________________________________________________________________________________________________________________________________________________________

SiteLocation:___________________________________________________________________________________________________________________________________________________________________________

Site/Project Description and Mitigation of Potential Environmental Impacts:_______________________________________________________________________________________________________________________________________________________________________________

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

5.2	Construction Activity with Potential Pollutants and Sources

The following lists the construction activities or materials that have 			the potential to contribute pollutants, including sediment, to storm 			water runoff.

| # Construction Activity and/or Material | # Potential Pollutant |
| --- | --- |
| - Land clearing | - Sediment – Total Suspended Solids (TSS), turbidity, oil and grease, Total Petroleum Hydrocarbons (TPH) |
| - Excavation | - Sediment – TSS, turbidity, oil and grease, TPH |
| - Filling | - Sediment – TSS, turbidity, oil and grease, TPH |
| - Paving | - Sediment – TSS, turbidity, oil and grease, TPH, pH |
| - Install foundations, retaining walls, etc | - Sediment – TSS, turbidity, oil and grease, TPH, pH |
| - Grading | - Sediment – TSS, turbidity, oil and grease, TPH |
| - Utilities | - Sediment – TSS, turbidity, oil and grease, TPH |

5.3	Major Activities Schedule

The following schedule sheet is an intended schedule 	or sequence of major activities that will disturb the soil for major portions of the site.  Details are provided as an attachment in Appendix C.

Schedule Sheet for Soil Disturbing Activities

Estimate Construction Start Date:  ______________________

Estimate Construction End Date:   ______________________

| # Activity | Estimated Time | # Actual Time |
| --- | --- | --- |
| Install BMPs |  |  |
| Land clearing |  |  |
| Grading |  |  |
| Excavation |  |  |
| Filling |  |  |
| Utilities |  |  |
| Install foundations, retaining walls, etc |  |  |
| Paving |  |  |
| Revegetation |  |  |
| BMP Removal |  |  |

5.4 	Property Acreage

The total area of the property is ______ acres.  The total anticipated area of soils to be disturbed is _______ acres.

5.5	Construction Activity Acreage

The total number of acres of construction activities, material 	storage areas, stockpiles, and borrows areas are listed below:

| # Activity or Material | # Acres |
| --- | --- |
| Construction Activities (resulting in land disturbance) |  |
| Off-site Material Storage Areas |  |
| Overburden and Stockpiles of Dirt |  |
| Borrow Areas |  |

5.6	Soil Data

Soil data for each lot is listed on a “Soil Data Sheet”.  This information includes pre-construction and post-construction runoff coefficient as well as a description of the soil type.

Soil Data Sheet

Pre-construction runoff coefficient: ____________________

Post-construction runoff coefficient: ___________________

Runoff Coefficient:

High: 70-100% impervious (example: asphalt, buildings, paved surfaces)

Medium: 40-70% impervious (example: packed soils)

Low: 0-40% impervious (example: grassy areas)

Description of soil:   soil name(s), soil mapping unit, erodability, settleability, depth, texture and soil structure: 	_____________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

5.7  	General Location Map and Site Map

The general location map found in Appendix A shows the location 			of the site.  A detailed site map is also attached.

  - Erosion and Sediment Control Site Map

Site maps shall contain a North arrow with sites oriented to the North, with a minimum of five-foot topographical contours. The maps shall include:

- Nearest receiving streams, springs, surface waters to the site;

- Limits of all areas to be disturbed (LOD);

- Existing roads including public roads from which access to the site will be constructed;

- Access roads;

- Drainage patterns during and after construction with the outlet markers depicting the storm water discharge points;

- Slopes prior to constructions and anticipated conditions after grading activities;

- Location of topsoil stockpiles;

- Waste areas of 1 acre or greater within or contiguous to the construction site;

- Borrow sites of 1 acre or greater within or contiguous to the construction site;

- Locations and identification of sediment control structures;

- Total acreage and location of impervious areas after construction is complete;

- Location of rain gauge provided by the applicant

  - Or a statement the applicant will obtain the precipitation event information from a National Oceanic Atmospheric Administration (NOAA) weather station that is representative of the location and provide the Station ID Number.

- Post-development storm water management structures required by local governments

- Final storm water conveyances, including all ditches and pipe systems;

- Property boundaries and easements; and

- A legend, complete with any other information necessary to describe the project in detail.

  - Industrial Discharges

This project does/does not (circle one) involve discharges associated with industrial activities other than commercial construction activities.

For construction occurring on an industrial site, reference existing multi-sector SWPPP, if applicable.

There are/are not (circle one) dedicated concrete or asphalt plants associated with this project.

There will be no discharge of process wastewater from concrete or asphalt plants.  Water from equipment and vehicle washing, wheel washing, concrete and bituminous washout, and washout from paints, oils, and other construction materials is production waste water and cannot be disposed of on site or discharged without an individual NPDES permit. It must be contained and removed for processing and proper disposal.

  - Receiving Waters

The first named water body that receives stormwater discharges from the site is ____________________________.  (See Appendix A:  General Site Location Map)

The Designated Uses for this water body are:

___________________________________________________________

  - WVDEP Construction General Permit, WV0115924

A copy of the WVDEP Construction General Permit, WV0115924 is included in Appendix B.

5.12	Threatened and/or Endangered Species

To be eligible for coverage under the construction stormwater permit, facilities must provide documentation on whether a listed endangered or threatened species, or critical habitat, are found with the proximity of the project.  The facility used The Endangered Species Guidance provided in the Notice of Intent to help determine the status of the site.  The species that must be considered in the Parish where this site is located are:  __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

A visual inspection of the area indicated (Check One):

No endangered or threatened species and/or critical habitat located within the proximity of the facility.

The following species and/or critical habitat and findings were noted:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

NOTE:  Include documentation regarding authorization under the Endangered Species Act (ESA), comprehensive site assessments, and/or BMP’s that are protective of listed endangered and threatened species and/or critical habitat, where applicable.

5.13	Historical Determination

The adverse effects on historic properties must be considered before a facility can be covered by the construction general permit.  The National Register of Historic Places web site was reviewed and revealed the following (Check One):

None of the listed sites are located in the vicinity of the facility, or listed sites will not be affected by the facility.

The following sites are located in the vicinity of the facility (West Virginia State Historic Preservation written agreement included in Appendix A.)

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

NOTE:  Include written agreement with the West Virginia State Historic Preservation Officer (SHPO) that outlines all measures to be undertaken to mitigate or prevent adverse effects to the historic property, where applicable.

5.14	Total Maximum Daily Loading (TMDL)

The WVDEP (Check One)

Currently, there is no TMDL established for the receiving stream 	that would regulate potential pollutants from the construction site.

The enhanced BMP’s chosen for this site and discussed in this SWPPP are expected to ensure that storm water discharges are protective of water quality standards.

6.0	Erosion and Sediment Controls

This section includes descriptions of control measures that will be implemented to control pollutants in the storm water discharges.  The control measures shall, at a minimum, be designed to effectively minimize the discharge of pollutants by design, installation, and maintenance, in order to meet effluent limitations required by 40 CFR 450.21.  These limitations were incorporated into the reissued WV0115924, effective February 10, 2019.

6.1	Short and Long-Term Goals/Criteria

- Retain sediment on-site to the extent practicable with consideration 			for local topography, soil type, and rainfall.

- Select, install, and maintain control measures according to the 			manufacturer or designer’s specifications.

- Remove sediment accumulations if sediment escapes the site at a 			frequency to minimize further negative effects and, whenever 			feasible, prior to the next storm event.

- Remove sediment from sediment traps and sedimentation ponds 			no later than the time that the wet storage design capacity has

been reduced by 50%.

  - Remove sediment from silt fences, silt socks, and straw wattles before reaching 50% of BMP height (above ground).

  - Address off-site material storage areas in erosion and sediment control efforts (overburden and dirt stockpiles, borrow areas).

6.2	Best Practicable Technology (BPT)

The chosen controls shall include designs that are effective at minimizing pollutants, and should be installed and maintained to:

- Control storm water volume and velocity in ways that minimize soil erosion.

- Control storm water runoff during peak flow and total storm runoff volume to minimize channel and stream bank erosion and scour around discharge points.

- Minimize exposed soils generated during construction.

- Preserve topsoil where feasible.

- Minimize disturbance of steep slopes on site.

- Minimize sediment discharge with erosion and sediment controls that are designed and installed to address:

  - Duration, amount, frequency and intensity of precipitation,

  - Nature of resulting runoff,

  - Soil characteristics:  range of particle sizes present.

- Use natural buffers around waters of the state and direct runoff to these areas, where feasible.

  - Discharges to Outstanding Natural Resource Waters and impaired streams must have a 100-foot buffer zone,

  - Explain alternative practices where site constraints limit buffer zones.

- Minimize soil compaction unless dictated by site development

- Utilize outlet structures that withdraw water from the surface of settling basins or impoundments.

  - Site-Specific Erosion and Sediment Controls

The erosion and sediment control methods used are listed in the “Erosion and Sediment Control Plan”. The plan for each lot, where applicable, is found in the “Individual Lot Information” section of the appendix.  The sediment controls should address all of the requirements in Sections 6.1 and 6.2 of this SWPPP.

7.0  	Stabilization Practices

The site stabilization practices described in this SWPPP include temporary and permanent stabilization   measures that ensure that disturbed portions of the site are stabilized, and that existing vegetation is preserved when possible.  Final stabilization measures may include but are not limited to permanent protection such as pavement, compacted gravel, permeable pavements/pavers, buildings, stable waterways (riprap, concrete, grass or pipe), a healthy, vigorous stand of grass or natural vegetation that uniformly covers at least 70 percent of the ground, stable outlet channels with velocity dissipation that directs site runoff to a natural watercourse, and any other approved structure or material.

7.1	Deadline to Initiate Stabilization Measures

The types of activities that constitute the initiation of stabilization include, but are not limited to:

- Prepping soil for vegetative or non-vegetative stabilization

- Applying mulch or other non-vegetative product

- Seeding or planting

- Starting stabilization practices on a porting of the area to be stabilized

- Finalizing arrangements to have stabilization product fully installed.

Except as noted below, stabilization measures shall be initiated as soon as practicable in portions of the site where construction activities have temporarily or permanently ceased, but in no case more than 7 days after the construction activity in that portion of the site has permanently ceased or 4 days for sites required to use enhanced BMP’s.

- Where the initiation of stabilization measures by the 4th day, as applicable after construction activity temporarily or permanently ceases is precluded by natural causes, stabilization measures shall be initiated as soon as conditions allow.

- Where construction activity will resume on a portion of the site within 14 days from when activities ceased, (i.e., the total time period that construction activity is temporarily halted is less than 14 days) then stabilization measures do not have to be initiated on that portion of the site by the seventh day after construction activities have temporarily ceased.

- Areas where the seed has failed to germinate adequately (uniform perennial vegetative cover with a density of 70%) within 30 days after seeding and mulching must be reseeded immediately, or as soon as weather conditions allow.

7.2	Deadline to Complete Installation of Stabilization Measures

As soon as practicable, but no later than 7 days after initiation of soil stabilization measures, the site will have completed:

  - Vegetative Stabilization – initial seeding or planting, and/or

  - Non-Vegetative – installation or application of stabilization measures.

With extenuating circumstances like frozen conditions, stabilization measures will be completed as soon as practicable.  Routine inspections will be continued until final stabilization requirements are met.

  - Other Deadlines

Where the site is affected by circumstances beyond the control of the Stormwater Permittee, and vegetative stabilization measures are proposed, the following deadlines apply:

- Immediately initiate, and within 7 days complete installation of temporary non-vegetative measures to prevent erosion.

- As soon as conditions allow, the activities required to plant and initially establish vegetation will proceed.

The circumstances that led to the inability to complete the deadlines outlined in sections 7.1 and 7.2 of this SWPPP will be documented, with the outline of a schedule for initiating and completing stabilization.

7.4	Stabilization Records

The stabilization practices implemented will be recorded on the “Stabilization Practice Schedule” found in the appendix.  If construction activities temporarily or permanently cease, then it will be noted in the Stabilization Practice Schedule.

Stabilization Practice Schedule

Address: ___________________________________________

| # Stabilization Practices | # Location | # Time Frame* |
| --- | --- | --- |

* Time Frame: Includes dates of major grading activities, dates when construction activities temporarily or permanently ceases on a portion of the site, date when stabilization measures are initiated.

- Structural Controls

8.1   Structural Control Requirements

Sediment traps and sediment basins may be used to control solids in storm water runoff for drainage locations serving less than ten (10) acres.  Sediment basins must utilize outlet structures that release water from the surface, unless infeasible.

At a minimum, super silt fence, belted reinforced silt fence, standard silt

fences, 18” silt socks, or equivalent sediment controls are required for all

down slope boundaries (and for those side slope boundaries deemed

appropriate as dictated by individual site conditions) of the construction.

  - Site Structural Controls

The structural controls used on each lot are listed on the Structural Controls Sheet included in the Site Information Section of 	the appendix. These controls are used to divert flows away from exposed soils, to limit the contact of runoff with disturbed areas, or to lessen the off-site transport of eroded soils.

Structural Control Sheet

Address: ______________________________________

| Structural Control Selected | Rational |
| --- | --- |

9.0 	Storm Water MANAGEMENT

If any permanent storm water controls (e.g. detention ponds, catch 	basin filter inserts, etc.) or velocity dissipation devices are installed during the construction process to control pollutants in storm water discharges and will remain in place after the completion of construction operations will be noted on the Structural Control Sheet found in the Site Information section of the appendix.

10.0 	Other Controls

10.1  	Other Control Requirements

To minimize off-site tracking of sediments and generation of dust,  	typical controls may include stabilized construction entrances, 	shoveling and sweeping, watering for dust control, etc.

All construction and waste materials that pose a potential pollutant 	source to the storm water runoff from the construction site will be 	stored

in such a manner so as to prevent or minimize storm water 	contact.

To demonstrate that all applicable state and local regulations 	governing waste disposal, 	sanitary sewer or septic systems are 	being obeyed, the following practices are in place:

- The site will have the typical waste lumber, insulation, sheetrock, roofing, used paint 	supplies, etc. commonly found on a construction site. Either a roll off dumpster or wire fence containment will be provided for storing trash and rubbish until it can be properly disposed of. The dumpster or fence containment will be covered  when not in use to prevent storm water from coming into contact with the trash and rubbish.

- Any concrete or asphalt plants associated with the project will be permitted and operated under their appropriate stormwater pollution prevention control plans.

- Any controls required for endangered or threatened species or their habitat, and/or those required by the State Historic Preservation Officer (SHPO) will be installed properly and maintained accordingly.

  - Other Controls at the Site:

If any other controls will be used, it will be described on the Other Control Sheet found in the Site Information in the appendix.  For complex sites with more comprehensive controls, details are included in Appendix C.

Other Controls Sheet

| Controls | Rationale |
| --- | --- |
| Dust - | Water as needed |
| Off-site Tracking - | Shoveling or sweeping as needed |
| Sewage - | Port-a-toilets for workers; POTW for residence |
| Construction Litter and Trash - | Covered dumpster to minimize waste materials contact with storm water |

- APPROVED LOCAL PLAN

The local requirements for an Erosion and Sediment Control Plan

may or may not be met by the information contained in this SWPPP. Additional information may be requested to fully comply with these local requirements.

12.0	Maintenance

All erosion and sediment control measures and other protective measures 	identified in this SWPPP must be maintained in effective operating 	condition.  If through inspections the permittee determines that BMPs are 	not operating effectively, maintenance must be performed within 24 hours

for active construction sites and before the next anticipated storm event

to maintain the continued effectiveness of storm water controls.  If

maintenance prior to the next anticipated storm event is impracticable, maintenance must be scheduled and accomplished as soon as practicable.  Erosion and sediment controls that have been intentionally

disabled, run-over, removed, or otherwise rendered ineffective must be

replaced or

corrected immediately upon discovery.

13. 0	Inspections of Controls

The permittee shall ensure site inspections are conducted by a Qualified

Person in accordance with this section. The purpose of the inspections is

to ensure compliance with the approved plan, and when the approved

plan is not effective at protecting water quality, the inspection is to

document that plan improvements are needed.

The person(s) inspecting the site may be a staff person or a third party

hired to conduct such inspections as long as they meet the definition of a

Qualified Person.

The site must be inspected as listed below, unless the site discharges to

sensitive waters or the site qualifies for a reduction in the inspection

frequency.

- At least once every seven (7) calendar days and

- Within 24 hours of the occurrence of a precipitation event of 0.25 inches or greater, or the occurrence of runoff from snowmelt sufficient to cause a discharge.

An increase in inspection frequency is required for sites discharging to all waters except Tier 1.

For any portion of the site that discharges to a water that is classified as Tier 2 or Tier 3, or listed on the 303(d) list, inspections must be conducted in accordance with the following inspection frequencies:

- Once every four (4) calendar days, and

- Within 24 hours of the occurrence of a precipitation event of 0.25 inches or greater, or the occurrence of runoff from snowmelt sufficient to cause a discharge.

Reductions in inspection frequency may occur in accordance with the following:

Stabilized areas:

The permittee may reduce the frequency of inspections to twice per month, no more than 14 calendar days apart, in any area of the site where final stabilization has been completed. If construction activity resumes in this portion of the site at a later date, the inspection frequency immediately increases to that required previous to the reduced frequency. The beginning and ending dates of this period must be recorded in the inspection report.

Exceptions:

For “linear projects”, where disturbed portions have undergone final stabilization at the same time active construction continues elsewhere, the permittee may reduce the frequency of inspections to twice per month no more than 14 calendar days apart, in any area of the site where the final stabilization has been completed. Inspect once more within 24 hours of the occurrence of a precipitation event of 0.25 inches or greater. If there are no issues or evidence of stabilization problems, further inspections may be suspended. If “wash-out” of stabilization materials and/or sediment is observed, following re-stabilization, the reduced inspection frequency is suspended. Inspections must continue until final stabilization is visually confirmed following a precipitation event of 0.25 inches or greater.

Frozen conditions:

If the permittee suspends construction activities due to frozen conditions, inspections on the site may be temporarily suspended until thawing conditions begin to occur if:

- Runoff is unlikely due to continuous frozen conditions that are likely to continue at the site for at least three (3) months based on historic seasonal averages. If unexpected weather conditions (such as above freezing temperatures or rain events) make discharges likely, the permittee must immediately resume the regular inspection frequency as applicable;

- Land disturbances have been suspended and all disturbed areas of the site have been stabilized.

If still conducting construction activities during frozen conditions, the permittee may reduce the inspection frequency to once per month if:

- Runoff is unlikely due to continuous frozen conditions that are likely to continue at the site for at least three (3) months based on historic seasonal averages. If unexpected weather conditions (such as above freezing temperatures or rain events) make discharges likely, the permittee must immediately resume the regular inspection frequency; and

- Except for areas undergoing construction activities, disturbed areas of the site have been stabilized, the beginning and ending dates of this period must be documented in the inspection report.

- CONTRACTORS AND SUBCONTRACTORS RESPONSIBILITY

Each control measure implemented on site is identified along with the person responsible for implementing that measure in the Erosion and Sediment Control Plan found in the “Site Information” section of the appendix.

A list of contractors and subcontractors and the control measures their operations impact is listed in the “Site Information” section of the appendix. If the contractor is unknown at this time, this requirement may be waived.

All contractors and subcontractors working at the site are informed of 	the terms and conditions of the SWPPP and their obligation to follow the 	plan. 	In doing so, they agree not to perform their operations counter to 	the plan without first contacting the Permittee in order that the necessary 	adjustments 	to the SWPPP plan can be made to assure that pollutants

are not discharged from the site in the storm water runoff.

- UTILITY COMPANIES

Each control measure relating to the installation of utility service, is listed in the “Erosion and 	Sediment Control Plan” found in the “Site Information” section in the appendix.

- EMERGENCY NOTIFICATION

In the event of an unauthorized discharge that causes an emergency condition, the operator shall notify the hotline (WVDEP24-hour Elkview Emergency Response Unit) by telephone at 1-(304) 558-5938 or 1-(800) 642-3074 and the National Response Center at 1-(800)-424-8802 no later than one hour after learning of the discharge.  Notification will be made regardless of the amount of the discharge.   A written notification shall be provided within five (5) calendar days after the telephone notification, in accordance with the general permit requirements. The written submission shall contain a description of the noncompliance and its cause; the period of noncompliance, including exact dates and time, and if, the noncompliance has not been corrected, the anticipated time it is expected to continue; and steps taken or planned to reduce, eliminate, and prevent recurrence of the noncompliance.

17.	EMPLOYEE TRAINING

Describe an employee training program for all on-site personnel directly involved with construction activities at all levels of responsibility that reiterates the components and goal of the SWPPP.

- Training should address topics such as spill and leak response and internal reporting, good housekeeping, and routine inspection and maintenance.

- Training shall be on a quarterly basis while construction activities are occurring.

- A list of attendees and topics covered at each training session shall be documented and maintained in the SWPPP.

### APPENDIX A

### General Location Map

and

Site Map

#### APPENDIX B

#### WVDEP Construction General Permit

#### WV0115924

#### APPENDIX C

Site Information

Content:	1.	General Description Sheet

2.	Schedule Sheet for Soil Disturbing Activities

3.	Soil Data Sheet

4.	Erosion and Sediment Control Site Map

5.	Erosion and Sediment Control Plan

6.	Design Sheets

7. 	Design Calculations

8.	Revegetation Plan

9.	Stabilization Practice Schedule

10.	Structural Control Sheet

11.	Construction Site Inspection Report

General Description Sheet

Description of Project: 	_____________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

___________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

___________________________________________________________

Schedule Sheet for Soil Disturbing Activities

Estimate Construction Start Date:  ______________________

Estimate Construction End Date:   ______________________

| # Activity | Estimated Time | # Actual Time |
| --- | --- | --- |
| Install BMPs |  |  |
| Land clearing |  |  |
| Grading |  |  |
| Excavation |  |  |
| Filling |  |  |
| Utilities |  |  |
| Install foundations, retaining walls, etc |  |  |
| Paving |  |  |
| Revegetation |  |  |
| BMP Removal |  |  |

Soil Data Sheet

Pre-construction runoff coefficient: ____________________

Post-construction runoff coefficient: ___________________

Runoff Coefficient:

High: 70-100% impervious (example: asphalt, buildings, paved surfaces)

Medium: 40-70% impervious (example: packed soils)

Low: 0-40% impervious (example: grassy areas)

Description of soil type: 	_____________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

Insert Erosion and Sediment Control Site Development Maps

Insert Erosion and Sediment Control Plan

Insert Design Sheets

Insert Design Calculations

Insert Revegetation Plan

Stabilization Practice Schedule

Address: ___________________________________________

| # Stabilization Practices | # Location | # Time Frame* |
| --- | --- | --- |

* Time Frame: Includes dates of major grading activities, dates when construction activities temporarily or permanently ceases on a portion of the site, date when stabilization measures are initiated.

Structural Control Sheet

Address: ______________________________________

| Structural Control Selected | Rational |
| --- | --- |

INSPECTION REPORT

Address: 		____________________________________________

Date: 			____________________________________________

Inspector/Title: 	____________________________________________

| Erosion and Sediment Control Measure | Satisfactory Yes/No | Comments |
| --- | --- | --- |

Entrance(s):	Clear of Mud, Dirt, Debris, or Tracking 	Yes _____, No _____

Corrective Action________________________________________

Outfall Locations:	BMPs are in place and working.	Yes _____,	No _____

Corrective Action________________________________________

Disturbed Area(s):	BMPs are in place and working.	Yes _____,	No _____

Corrective Action________________________________________

Summary of Findings:

Non-Compliance Issues:

Site is in Compliance 	Yes _____	No _______

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I also certify that a storm water pollution prevention plan, including both construction and post construction controls, has been prepared for the site in accordance with the permit and that such plan complies with approved State, Tribal and/or local sediment and erosion plans or permits and/or storm water management plans or permits. I am aware that signature and submittal of the Site Registration Application is deemed to constitute my determination of eligibility under one or more of the requirements of Permit Appendix A.I.11., related to the Endangered Species Act requirements. To the best of my knowledge, I further certify that such discharges and discharge related activities will not have an effect on properties listed or eligible for listing on the National Register of Historic Places under the National Historic Preservation Act, or are otherwise eligible for coverage under the permit. I am also aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

| Name and Title |  | Telephone Number |
| --- | --- | --- |
| Signature |  | Date |