## Slide 1: West Virginia TMDL Group A3 Draft Reference Approach Hydrology Calibration
September 18, 2013

## Slide 2: Reference Watershed Approach
USGS gage stations were not located in any of the Group A3 TMDL watersheds. Ordinarily during hydrology calibration, model output would be compared to long term flow data from a USGS stream gage. Because this was not possible for Group A3 streams, a reference watershed approach was used instead.
To calibrate the South Branch Potomac model, modelers applied to South Branch watersheds the hydrologic parameters from a model developed for the adjacent North Branch Potomac watershed (completed under the Group B2 TMDL effort). Likewise, Upper Kanawha streams received parameters calibrated for the adjacent Elk and Lower Kanawha River watersheds (work also performed for Group B2 TMDLs). Streams in the Upper Ohio North watershed were calibrated using parameters developed for the Upper Ohio South watershed (completed under the Group E TMDL effort).

## Slide 3
During monthly pre-TMDL monitoring, instantaneous flow measurements were collected at some WAB stations in the South Branch, Upper Kanawha, and Upper Ohio South watersheds. These flow measurements captured mostly low and moderate flow events on wadeable streams. In the absence of more complete datasets, the WAB flow data were used to spot check model output against field observations. In the following graphs, blue dots display pre-TMDL observations, and the orange lines represent model output.
Precipitation data from the following stations were used in watershed modeling:
South Branch Potomac and Shenandoah: Grant County Airport (WBAN 03725)
Upper Kanawha River: Charleston Yeager Airport (WBAN 13866)
Upper Ohio North: Ohio County Airport (WBAN 14894)
Flow Check Methodology

## Slide 4: South Branch Potomac Watershed WAB Station Flow Check
SWS 1021 Buffalo Creek (PSB-30)

## Slide 5: South Branch Potomac Watershed WAB Station Flow Check
SWS 1031 Dumpling Run (PSB-35-B)

## Slide 6: South Branch Potomac Watershed WAB Station Flow Check
SWS 1201 South Fork/Lunice Creek (PSB-98-T)

## Slide 7: South Branch Potomac Watershed WAB Station Flow Check
SWS 1211 Big Star Run (PSB-98-T-11)

## Slide 8: South Branch Potomac Watershed WAB Station Flow Check
SWS 1358 Spring Run* (PSB-97-F-7 )
*under the influence of 8.9 cfs Big Spring

## Slide 9: South Branch Potomac Watershed WAB Station Flow Check
SWS 1401 Deer Run (PSB-139)

## Slide 10: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2022 Lower Donnally Branch (KU-5)

## Slide 11: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2043 Pointlick Fork (KU-6-F)

## Slide 12: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2051 Rattlesnake Hollow (KU-6-N)

## Slide 13: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2121 Tenmile Fork (KU-26-AD)

## Slide 14: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2214 Frozen Branch (KU-33-C)

## Slide 15: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2341 North Sand Branch (KU-39-DG-2)

## Slide 16: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2401 Hughes Creek (KU-42)

## Slide 17: Upper Kanawha River Watershed WAB Station Flow Check
SWS 2501 Bullpush Fork (KU-55-F)

## Slide 18: Upper Ohio North River Watershed WAB Station Flow Check
SWS 3002 UNT/Mahan Run RM 2.04 (OUN-3-A)

## Slide 19: Upper Ohio North Watershed WAB Station Flow Check
SWS 3101 Holbert Run (OUN-6)

## Slide 20: Upper Ohio North Watershed WAB Station Flow Check
SWS 3201 Laurel Hollow (OUN-17)

## Slide 21: Upper Ohio North Watershed WAB Station Flow Check
SWS 3301 Middle Run (OUN-19)

## Slide 22: Upper Ohio North Watershed WAB Station Flow Check
SWS 3401 Marks Run (OUN-20)