## Results
Summary - Canister Sampling Results from Spot #6 Institute, WV
Round 1 - February 1, 2025 | 12:49 pm Jan 31 - Feb 1
14:57 pm for background canisters
| Sample |  | Spot #6
Sample Canister | ppbv | ug/m3 | Range ug/m3 |  |  |  | Relative Percent Difference
Sample Spot #6 - 6 Canisters |  |  |  |  | RL | MDL | For Each Fenceline Canister
[5 empty] | ug/m^3 | ug/m^3 | From Mean of Samples | Average Run 1 Relative Percent Difference
Canister 1 | 0.034 | 0.062 | 0.027 | Average | 0.056 | 0.01 | 2.835% | 12.79%
Canister 2 | 0.028 | 0.051 |  | ug/m^3 | 0.061 | 0.011 | 16.66%
Canister 3 | 0.036 | 0.066 |  | 0.060267 | 0.064 | 0.012 | 9.081%
Canister 4 | 0.026 | 0.0468 |  |  | 0.059 | 0.011 | 25.16%
Canister 5 | 0.041 | 0.0738 |  |  | 0.064 | 0.012 | 20.19%
Canister 6 | 0.034 | 0.062 |  | Background | 0.063 | 0.012 | 2.835%
Background Canister 1 | 0.027 | 0.048 |  | Average | 0.05 | 0.0094
Background Canister 2 | 0.039 | 0.0702 |  | 0.0591 | 0.06 | 0.011
Round 2 - February 4, 2025 | 13:05 pm Feb 3 - Feb 4
14:01 pm for background canisters
| Sample |  | Spot #6
Sample Canister | ppbv | ug/m3 | Range ug/m3 |  |  |  | Relative Percent Difference
Sample Spot #6 - 6 Canisters |  |  |  |  | RL | MDL | For Each Fenceline Canister
[5 empty] | ug/m^3 | ug/m^3 | From Mean of Samples | Average Run 2 Relative Percent Difference
Canister 1 | 0.57 | 1 | 0.09 | Average | 0.065 | 0.012 | 3.311% | 3.902%
Canister 2 | 0.6 | 1.08 |  | ug/m^3 | 0.061 | 0.011 | 4.384%
Canister 3 | 0.59 | 1.062 |  | 1.0337 | 0.065 | 0.012 | 2.704%
Canister 4 | 0.6 | 1.08 |  |  | 0.062 | 0.012 | 4.384%
Canister 5 | 0.55 | 0.99 |  |  | 0.063 | 0.012 | 4.316%
Canister 6 | 0.55 | 0.99 |  | Background | 0.057 | 0.011 | 4.316%
Background Canister 1 | 0.029 | 0.052 |  | Average | 0.062 | 0.012
Background Canister 2 | 0.025 | 0.045 |  | 0.0485 | 0.052 | 0.0098
Round 3 - February 7, 2025 | 12:27 Feb 6 - Feb 7
13:17 background canisters
| Sample |  | Spot #6
Sample Canister | ppbv | ug/m3 | Range ug/m3 |  |  |  | Relative Percent Difference
Sample Spot #6 - 6 Canisters |  |  |  |  | RL | MDL | For Each Fenceline Canister
[5 empty] | ug/m^3 | ug/m^3 | From Mean of Samples | Average Run 3 Relative Percent Difference
Canister 1 | 0.039 | 0.071 | 0.035 | Average | 0.061 | 0.012 | 37.19% | 15.82%
Canister 2 | 0.028 | 0.0504 |  | ug/m^3 | 0.097 | 0.018 | 3.362%
Canister 3 | 0.023 | 0.042 |  | 0.048733 | 0.059 | 0.011 | 14.84%
Canister 4 | 0.027 | 0.048 |  |  | 0.048 | 0.0089 | 1.516%
Canister 5 | 0.02 | 0.036 |  |  | 0.06 | 0.011 | 30.06%
Canister 6 | 0.025 | 0.045 |  | Background | 0.06 | 0.011 | 7.966%
Background Canister 1 | 0.021 | 0.037 |  | Average | 0.061 | 0.012
Background Canister 2 | 0.018 | 0.033 |  | 0.035 | 0.062 | 0.012
Average Relative Percent Difference
RL - Reporting Limit | [7 empty] | 8.347%
MDL - Minimum Detection Limit